## Slide 1
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA): A NEW TOOL TO STANDARDIZE THE OPTIC NERVE ASSESSMENT BY TRANSORBITAL SONOGRAPHY
Dr. Andrea Naldi
Department of Neuroscience Rita Levi Montalcini, University of Turin, Italy
and
Neurology Unit and Stroke Unit, San Giovanni Bosco Hospital of Turin, Italy
andrea.naldi@aslcittaditorino.it

## Slide 2
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
INTRODUCTION
Parenchima
Sangue
Liquor
Massa
Non invasive evaluation of the orbit’s structures
Optic Nerve Sheath Diameter (ONSD)
Estimation of intracranial pressure
Optic Nerve Diameter (OND)
Neurodegeneration and inflammation
Diagnosis and Monitoring
B-mode Transorbital Sonography (TOS)

## Slide 3
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
INTRODUCTION
Parenchima
Sangue
Liquor
Axial plane
3 mm behind the globe
OND / ONSD
Averaging values
Manual assessment
3mm
OND
ONSD
Affected by operator’s experience
Artifactual images
Inter and Intra-operator variability
Not standardized measurement methods
Reduced reproducibility
Heterogeneity across studies
Misunderstanding of result’s interpretation

## Slide 4
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
INTRODUCTION
Parenchima
Sangue
Massa
Computerized automated system for OND / ONSD measurement
Reduce operator dependency
Accelerate acquisition time
Mitigate the issue of inter-operator variability
Completely automatic segmentation of optic nerve and optic nerve sheath in ultrasound B-mode images
No interaction with the user for measurements
AUTONoMA
(AUTomatic Optic Nerve MeAsurement)

## Slide 5
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
METHODS
Parenchima
Sangue
Liquor
Massa
75 images
30 images from 15 patients with intracranial hypertension
45 images from 23 healthy subjects
Written consent and Ethic Committee
Manual measurement
AUTONoMA
Close eyelids; head reclined 20-30°
Expert neurosonologist
One ultrasound portable device (Vivid 7 sonography system, 7-11MHz linear transducer)
Images
Offline processing
Workstation
vs
Primary aim

## Slide 6
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
METHODS
Parenchima
Sangue
Massa
  STAGE I
  STAGE II
AUTONoMA Architecture

## Slide 7
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
METHODS
Parenchima
Sangue
Liquor
Massa
Bulb recognition
Optic nerve centerline
AUTONoMA Architecture – Stage I

## Slide 8
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
METHODS
Parenchima
Sangue
Liquor
Massa
Optic nerve sheath segmentation
Optic nerve segmentation
OND / ONSD calculation
AUTONoMA Architecture – Stage II
~ 2 seconds
3mm

## Slide 9
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
METHODS
Sangue
Liquor
Massa
Optic nerve centerline
3mm
Manual assessment
Tracing borders
OND / ONSD calculation
Operator 1 – Expert
Operator 2 – Inexpert
~ 30 seconds

## Slide 10
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
METHODS
Sangue
Liquor
Massa
Performance evaluation of AUTONoMA
Measurements comparison between AUTONoMa and Operators
Error between AUTONoMA and Operators
Mean error
Mean squared error
Figure of Merit (FoM – overall performance of AUTONOMA)
Inter-operator variability
AIMS

## Slide 11
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
RESULTS
Sangue
Liquor
Massa
Optic nerve diameter
NO statistically differences between AUTONoMA and Operators
(AUTONoMA tends to underestimate the measures)

## Slide 12
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
RESULTS
Sangue
Liquor
Massa
Optic nerve sheath diameter
NO statistically differences between AUTONoMA and Expert operator
Inexpert operator measurements were statistically (p<0.05) lower compared to AUTONoMA and Expert operator

## Slide 13
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
RESULTS
Sangue
Liquor
Massa
Optic nerve diameter
Agreement AUTONoMA vs Expert / Inexpert operator

## Slide 14
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
RESULTS
Sangue
Liquor
Massa
Optic nerve sheath diameter
Agreement AUTONoMA vs Expert / Inexpert operator

## Slide 15
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
RESULTS
Sangue
Liquor
Massa
OND / ONSD
Inter-operator agreement
AUTONoMA
NO measurement variability

## Slide 16
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
DISCUSSION
Sangue
Liquor
Massa
No differences between AUTONoMA and Expert Operator
(both for OND and ONSD measurements)
Good agreement between Operators and AUTONoMA
Fast and simultaneous OND/ ONSD evaluation
(2 seconds per image vs 30s of the manual measurement;
single measurement vs averaging of values)
Completely automatic and independent from the user (no measurement variability both for OND/ONSD)
AUTONoMA

## Slide 17
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
DISCUSSION
Sangue
Liquor
Massa
Correctly processed 71 out of 75 images (95%)
Images have to be CLEAR
Perpendicular direction of the optic nerve
Adequate differences in echogenicity of the structures
AUTONoMA - Limitations
Insufficient intensity difference between the hypo-echogenicity of the optic nerve and the subarachnoid space
Excessive hyper-echoic sorrounding the subarachnoid space
Larger sample
Subgroup analysis not available

## Slide 18
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
CONCLUSION
Sangue
Liquor
Massa
Valuable tool for OND and ONSD measurements
Faster than manual evaluation
No variability of measurements
AUTONoMA
Manual assessment
Reduce the operator dependency
Accelerate acquisition time
Mitigate the issue of operator variability
Standardize measurements
Higher reproducibility among studies

## Slide 19
AUTOMATIC OPTIC NERVE MEASUREMENT (AUTONOMA)
CONCLUSION
Sangue
Liquor
Massa
Thanks for your attention
For more details:
Andrea Naldi, M.D.
Department of Neuroscience
Rita Levi Montalcini
University of Turin - Italy
andrea.naldi@aslcittaditorino.it
Piergiorgio Lochner, M.D., PhD
Department of Neurology
Saarland University Medical Center
Homburg – Germany
piergiorgio.lochner@uks.eu
Kristen M. Meiburger
PoliToBIOMed Lab
Department of Electronics and
Telecommunications, Politecnico of Turin
Turin – Italy